## Sheet2
Measurement Name : | Block2_Day14_plate1 |  | Generated On : | 22/11/2021, 12:17:37 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0009000973 MUX channel : ON - 01 PARAMETERS Sig LED current : 045 Ref LED current : 045 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 22/11/2021, 09:53:21 | [5 empty] | Batch No.: | PSt5-2004-01
End Date/Time: | 22/11/2021, 12:16:07 | [5 empty] | O2_cal0 [°] | 54.4
User Comment : | 100% Scenedesmus; Vial in C2 was moved to A4 at 12 min. |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 46.95
SDR Serial No. : | S-973 | [5 empty] | O2_T0 [°C] | 23.1
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 23.1
|  |  | Raw Value : | Amplitude |  |  | O2_patm [mbar] | 953
[7 empty] | O2_2nd [% a.s.] | 100
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 | Tm [°C] | p [mbar] | Salinity [g/1000g] | T_internal [°C] | Error
22.11.21 09:53:23 | 0.03 | 7069 | 5884 | 11713 | 9632 | 11976 | 7729 | 2031 | 7855 | 9160 | 90 | 6164 | 6584 | 83 | 12176 | 5832 | 9672 | 6669 | 8811 | 5502 | 8443 | 7407 | 3751 | 8735 | 8460 | 20 | 953 | 0 | 22.42
22.11.21 09:55:23 | 2.03 | 7083 | 5876 | 12155 | 9624 | 11948 | 7740 | 2025 | 9884 | 9120 | 79 | 6164 | 11233 | 83 | 12235 | 5828 | 6948 | 6672 | 8783 | 5473 | 8446 | 7407 | 3754 | 8756 | 8471 | 20 | 953 | 0 | 22.43
22.11.21 09:57:23 | 4.03 | 7074 | 5882 | 12150 | 9636 | 11939 | 7726 | 2023 | 9862 | 9160 | 87 | 6189 | 11228 | 79 | 12227 | 5847 | 6956 | 6658 | 8780 | 5479 | 8457 | 7396 | 3759 | 8742 | 8476 | 20 | 953 | 0 | 22.43
22.11.21 09:59:24 | 6.05 | 7655 | 6590 | 11916 | 9719 | 12432 | 8055 | 1128 | 10523 | 9729 | 97 | 4184 | 11232 | 79 | 7508 | 6598 | 6720 | 3538 | 8701 | 5880 | 8841 | 7418 | 4012 | 8963 | 7948 | 20 | 953 | 0 | 22.43
22.11.21 10:01:24 | 8.05 | 7848 | 9840 | 6191 | 4681 | 12039 | 5995 | 1365 | 8175 | 9911 | 95 | 7242 | 7373 | 78 | 7520 | 4449 | 6788 | 3609 | 8740 | 5820 | 8960 | 7504 | 4051 | 8857 | 7895 | 20 | 953 | 0 | 22.43
22.11.21 10:03:28 | 10.12 | 8024 | 7123 | 4229 | 6281 | 12005 | 11415 | 1006 | 10795 | 9998 | 86 | 9074 | 6357 | 75 | 7630 | 4435 | 6780 | 3479 | 8593 | 5584 | 9024 | 7509 | 3952 | 8772 | 7787 | 20 | 953 | 0 | 22.43
22.11.21 10:05:28 | 12.12 | 8046 | 7208 | 6591 | 9334 | 11973 | 9129 | 299 | 5898 | 12027 | 94 | 6874 | 6647 | 3626 | 8982 | 4335 | 6823 | 6026 | 8590 | 5550 | 9026 | 7642 | 3963 | 8771 | 7752 | 20 | 953 | 0 | 22.45
22.11.21 10:07:28 | 14.12 | 8043 | 7216 | 6583 | 9335 | 11973 | 9151 | 295 | 5894 | 12036 | 94 | 6891 | 6449 | 3623 | 8990 | 4347 | 6807 | 6003 | 8602 | 5536 | 9003 | 7668 | 3980 | 8752 | 7727 | 20 | 953 | 0 | 22.43
22.11.21 10:09:28 | 16.12 | 8043 | 7205 | 6583 | 9326 | 11985 | 9148 | 292 | 5901 | 12002 | 87 | 6886 | 6656 | 3612 | 8988 | 4343 | 6805 | 6001 | 8602 | 5567 | 9010 | 7682 | 3966 | 8763 | 7731 | 20 | 953 | 0 | 22.43
22.11.21 10:11:28 | 18.12 | 8046 | 7222 | 6591 | 9311 | 11999 | 9151 | 294 | 5892 | 12016 | 94 | 6897 | 6472 | 3618 | 8985 | 4353 | 6801 | 6026 | 8607 | 5559 | 9024 | 7682 | 3980 | 8746 | 7755 | 20 | 953 | 0 | 22.41
22.11.21 10:13:28 | 20.12 | 8049 | 7205 | 6606 | 9329 | 11990 | 9143 | 299 | 5899 | 12067 | 91 | 6893 | 6474 | 3612 | 9033 | 4361 | 6804 | 6015 | 8630 | 5569 | 9004 | 7656 | 3989 | 8749 | 7741 | 20 | 953 | 0 | 22.41
22.11.21 10:15:28 | 22.12 | 8049 | 7208 | 6606 | 9318 | 11982 | 9165 | 297 | 5903 | 12030 | 91 | 7235 | 6451 | 3604 | 9036 | 4350 | 6796 | 6018 | 8624 | 5556 | 8994 | 7682 | 3980 | 8786 | 7742 | 20 | 953 | 0 | 22.38
22.11.21 10:17:28 | 24.12 | 8046 | 7216 | 6600 | 9340 | 11999 | 9165 | 302 | 5903 | 12027 | 85 | 6925 | 6460 | 3629 | 9002 | 4341 | 6818 | 6020 | 8621 | 5568 | 9001 | 7682 | 3986 | 8767 | 7749 | 20 | 953 | 0 | 22.38
22.11.21 10:19:28 | 26.12 | 8052 | 7227 | 6608 | 9322 | 11971 | 9148 | 296 | 5909 | 12058 | 96 | 6957 | 6455 | 3640 | 9050 | 4355 | 6830 | 6026 | 8636 | 5559 | 9021 | 7696 | 3989 | 8787 | 7768 | 20 | 953 | 0 | 22.36
22.11.21 10:21:28 | 28.12 | 8058 | 7222 | 6616 | 9320 | 11990 | 9157 | 301 | 5920 | 12092 | 89 | 6929 | 6471 | 3666 | 9011 | 4352 | 6824 | 6029 | 8621 | 5581 | 9028 | 7705 | 3992 | 8798 | 7749 | 20 | 953 | 0 | 22.36
22.11.21 10:23:28 | 30.12 | 8060 | 7227 | 6622 | 9335 | 11999 | 9154 | 304 | 5921 | 12058 | 82 | 6949 | 6472 | 3657 | 9005 | 4356 | 6807 | 6037 | 8627 | 5554 | 9024 | 7725 | 3986 | 8793 | 7752 | 20 | 953 | 0 | 22.34
22.11.21 10:25:29 | 32.13 | 8058 | 7219 | 6620 | 9317 | 11973 | 9188 | 299 | 5914 | 12047 | 85 | 6928 | 6464 | 3643 | 9008 | 4357 | 6808 | 6054 | 8650 | 5553 | 9006 | 7722 | 3972 | 8804 | 7749 | 20 | 953 | 0 | 22.31
22.11.21 10:27:29 | 34.13 | 8063 | 7236 | 6620 | 9329 | 11976 | 9157 | 306 | 5911 | 12055 | 89 | 6955 | 6475 | 3663 | 9011 | 4358 | 6807 | 6040 | 8630 | 5573 | 9014 | 7736 | 3969 | 8776 | 7746 | 20 | 953 | 0 | 22.29
22.11.21 10:29:29 | 36.13 | 8063 | 7242 | 6603 | 9337 | 11982 | 9154 | 292 | 5921 | 12072 | 86 | 6952 | 6474 | 3655 | 9013 | 4367 | 6817 | 6069 | 8627 | 5571 | 9032 | 7730 | 3997 | 8788 | 7755 | 20 | 953 | 0 | 22.29
22.11.21 10:31:29 | 38.13 | 8060 | 7233 | 6606 | 9364 | 11985 | 9160 | 299 | 5927 | 12067 | 85 | 6950 | 6469 | 3677 | 8988 | 4370 | 6825 | 6049 | 8624 | 5577 | 9035 | 7739 | 3989 | 8797 | 7760 | 20 | 953 | 0 | 22.27
22.11.21 10:33:29 | 40.13 | 8066 | 7250 | 6627 | 9352 | 12005 | 9177 | 302 | 5932 | 12081 | 82 | 6969 | 6469 | 3666 | 9036 | 4358 | 6822 | 6057 | 8647 | 5585 | 9043 | 7730 | 3989 | 8808 | 7756 | 20 | 953 | 0 | 22.27
22.11.21 10:35:29 | 42.13 | 8063 | 7236 | 6626 | 9359 | 12022 | 9194 | 299 | 5932 | 12041 | 84 | 6969 | 6477 | 3788 | 8994 | 4370 | 6834 | 6052 | 8638 | 5585 | 9060 | 7742 | 3995 | 8793 | 7778 | 20 | 953 | 0 | 22.25
22.11.21 10:37:29 | 44.13 | 8063 | 7242 | 6640 | 9350 | 12379 | 9163 | 300 | 5925 | 12078 | 95 | 6995 | 6479 | 3683 | 9039 | 4357 | 6808 | 6057 | 8653 | 5579 | 9031 | 7733 | 3983 | 8814 | 7753 | 20 | 953 | 0 | 22.24
22.11.21 10:39:29 | 46.13 | 8072 | 7222 | 6599 | 9366 | 12027 | 9188 | 300 | 5922 | 12070 | 86 | 6996 | 6475 | 3700 | 9019 | 4361 | 6819 | 6063 | 8636 | 5585 | 9038 | 7745 | 4009 | 8794 | 7758 | 20 | 953 | 0 | 22.23
22.11.21 10:41:29 | 48.13 | 8069 | 7253 | 6629 | 9357 | 12033 | 9177 | 305 | 5931 | 12095 | 95 | 6987 | 6473 | 3677 | 9053 | 4383 | 6826 | 6040 | 8647 | 5599 | 9052 | 7756 | 3989 | 8817 | 7768 | 20 | 953 | 0 | 22.22
22.11.21 10:43:29 | 50.13 | 8075 | 7244 | 6618 | 9352 | 11988 | 9177 | 301 | 5952 | 12067 | 91 | 7007 | 6493 | 3686 | 9062 | 4373 | 6821 | 6049 | 8658 | 5580 | 9040 | 7716 | 3995 | 8791 | 7765 | 20 | 953 | 0 | 22.22
22.11.21 10:45:29 | 52.13 | 8072 | 7239 | 6625 | 9370 | 12005 | 9205 | 306 | 5937 | 12078 | 95 | 7001 | 6490 | 3793 | 9016 | 4372 | 6840 | 6052 | 8650 | 5585 | 9037 | 7742 | 3986 | 8823 | 7771 | 20 | 953 | 0 | 22.2
22.11.21 10:47:29 | 54.13 | 8075 | 7259 | 6626 | 9384 | 12016 | 9168 | 302 | 5938 | 12098 | 96 | 6993 | 6499 | 3703 | 9059 | 4367 | 6839 | 6066 | 8647 | 5568 | 9043 | 7717 | 3983 | 8795 | 7776 | 20 | 953 | 0 | 22.2
22.11.21 10:49:30 | 56.15 | 8075 | 7256 | 6621 | 9382 | 12396 | 9174 | 300 | 5924 | 12106 | 89 | 6998 | 6508 | 3669 | 9039 | 4379 | 6857 | 6071 | 8670 | 5593 | 9058 | 7714 | 4009 | 8806 | 7787 | 20 | 953 | 0 | 22.18
22.11.21 10:51:30 | 58.15 | 8077 | 7264 | 6642 | 9379 | 12005 | 9185 | 300 | 5944 | 12109 | 84 | 6991 | 6494 | 3805 | 9028 | 4378 | 6849 | 6057 | 8678 | 5605 | 9050 | 7736 | 3992 | 8818 | 7773 | 20 | 953 | 0 | 22.18
22.11.21 10:53:30 | 60.15 | 8086 | 7256 | 6644 | 9373 | 12008 | 9182 | 307 | 5948 | 12104 | 88 | 6994 | 6490 | 3706 | 9059 | 4387 | 6827 | 6094 | 8667 | 5588 | 9059 | 7728 | 3992 | 8825 | 7768 | 20 | 953 | 0 | 22.17
22.11.21 10:55:30 | 62.15 | 8083 | 7259 | 6628 | 9377 | 11993 | 9182 | 311 | 5950 | 12078 | 92 | 6985 | 6479 | 3674 | 9028 | 4375 | 6823 | 6077 | 8658 | 5602 | 9047 | 7733 | 4003 | 8814 | 7782 | 20 | 953 | 0 | 22.16
22.11.21 10:57:30 | 64.15 | 8086 | 7261 | 6624 | 9382 | 12019 | 9182 | 307 | 5945 | 12101 | 90 | 6994 | 6502 | 3691 | 9039 | 4384 | 6863 | 6063 | 8678 | 5591 | 9084 | 7745 | 3997 | 8821 | 7759 | 20 | 953 | 0 | 22.16
22.11.21 10:59:30 | 66.15 | 8089 | 7270 | 6626 | 9402 | 12002 | 9182 | 301 | 5944 | 12081 | 87 | 7002 | 6506 | 3694 | 9031 | 4393 | 6875 | 6083 | 8661 | 5596 | 9073 | 7770 | 4009 | 8812 | 7780 | 20 | 953 | 0 | 22.13
22.11.21 11:01:30 | 68.15 | 8089 | 7267 | 6648 | 9394 | 12027 | 9208 | 297 | 5945 | 12106 | 91 | 7016 | 6506 | 3680 | 9073 | 4391 | 6875 | 6069 | 8698 | 5583 | 9067 | 7776 | 3992 | 8830 | 7779 | 20 | 953 | 0 | 22.13
22.11.21 11:03:30 | 70.15 | 8077 | 7273 | 6635 | 9388 | 12002 | 9194 | 297 | 5944 | 12112 | 87 | 7020 | 6503 | 3691 | 9034 | 4385 | 6855 | 6086 | 8667 | 5602 | 9067 | 7773 | 4017 | 8824 | 7778 | 20 | 953 | 0 | 22.13
22.11.21 11:05:30 | 72.15 | 8094 | 7267 | 6637 | 9399 | 12008 | 9191 | 299 | 5951 | 12098 | 95 | 6999 | 6497 | 3697 | 9033 | 4382 | 6863 | 6083 | 8675 | 5599 | 9062 | 7767 | 4003 | 8835 | 7783 | 20 | 953 | 0 | 22.11
22.11.21 11:07:30 | 74.15 | 8092 | 7264 | 6642 | 9403 | 12061 | 9219 | 302 | 5956 | 12132 | 84 | 7014 | 6523 | 3694 | 9031 | 4379 | 6877 | 6103 | 8684 | 5617 | 9099 | 7759 | 4014 | 8823 | 7806 | 20 | 953 | 0 | 22.11
22.11.21 11:09:30 | 76.15 | 8094 | 7270 | 6643 | 9400 | 12019 | 9197 | 296 | 5953 | 12115 | 82 | 7014 | 6503 | 3686 | 9045 | 4379 | 6864 | 6083 | 8707 | 5623 | 9064 | 7739 | 4020 | 8850 | 7801 | 20 | 953 | 0 | 22.11
22.11.21 11:11:30 | 78.15 | 8094 | 7262 | 6631 | 9405 | 12424 | 9197 | 300 | 5951 | 12115 | 85 | 7023 | 6496 | 3697 | 9031 | 4377 | 6858 | 6088 | 8692 | 5609 | 9073 | 7736 | 4000 | 8831 | 7806 | 20 | 953 | 0 | 22.09
22.11.21 11:13:31 | 80.17 | 8097 | 7281 | 6628 | 9400 | 12050 | 9197 | 297 | 5959 | 12095 | 78 | 7034 | 6508 | 3700 | 9045 | 4379 | 6883 | 6071 | 8704 | 5586 | 9100 | 7736 | 3995 | 8839 | 7774 | 20 | 953 | 0 | 22.09
22.11.21 11:15:31 | 82.17 | 8094 | 7264 | 6651 | 9404 | 12025 | 9208 | 297 | 5954 | 12123 | 103 | 7017 | 6521 | 3706 | 9059 | 4389 | 6651 | 6077 | 8687 | 5591 | 9071 | 7748 | 3992 | 8839 | 7792 | 20 | 953 | 0 | 22.08
22.11.21 11:17:31 | 84.17 | 8092 | 7267 | 6633 | 9408 | 12033 | 9208 | 304 | 5956 | 12101 | 87 | 7023 | 6517 | 3700 | 9039 | 4382 | 6873 | 6074 | 8707 | 5596 | 9108 | 7725 | 4014 | 8832 | 7803 | 20 | 953 | 0 | 22.09
22.11.21 11:19:31 | 86.17 | 8097 | 7276 | 6648 | 9412 | 12059 | 9199 | 299 | 5960 | 12121 | 87 | 7009 | 6523 | 3703 | 9054 | 4393 | 6870 | 6080 | 8684 | 5602 | 9078 | 7736 | 4006 | 8839 | 7810 | 20 | 953 | 0 | 22.08
22.11.21 11:21:31 | 88.17 | 8094 | 7259 | 6639 | 9411 | 12042 | 9211 | 302 | 5945 | 12140 | 82 | 7018 | 6515 | 3720 | 9048 | 4388 | 6866 | 6077 | 8690 | 5595 | 9068 | 7717 | 4009 | 8824 | 7792 | 20 | 953 | 0 | 22.06
22.11.21 11:23:31 | 90.17 | 8097 | 7281 | 6651 | 9401 | 12056 | 9208 | 292 | 5959 | 12138 | 83 | 7022 | 6514 | 3714 | 9056 | 4380 | 6869 | 6074 | 8712 | 5600 | 9065 | 7770 | 4006 | 8845 | 7792 | 20 | 953 | 0 | 22.04
22.11.21 11:25:31 | 92.17 | 8094 | 7273 | 6638 | 9394 | 12050 | 9219 | 304 | 5957 | 12118 | 86 | 7026 | 6524 | 3711 | 9045 | 4380 | 6678 | 6088 | 8718 | 5597 | 9097 | 7730 | 4014 | 8833 | 7797 | 20 | 953 | 0 | 22.04
22.11.21 11:27:31 | 94.17 | 8103 | 7273 | 6647 | 9399 | 12053 | 9219 | 306 | 5970 | 12118 | 85 | 7029 | 6501 | 3703 | 9048 | 4399 | 6879 | 6083 | 8701 | 5595 | 9069 | 7722 | 4009 | 8842 | 7801 | 20 | 953 | 0 | 22.04
22.11.21 11:29:31 | 96.17 | 8103 | 7273 | 6654 | 9408 | 12081 | 9222 | 297 | 5960 | 12149 | 85 | 7348 | 6540 | 3723 | 9051 | 4412 | 6890 | 6086 | 8709 | 5597 | 9080 | 7739 | 4017 | 8844 | 7799 | 20 | 953 | 0 | 22.04
22.11.21 11:31:31 | 98.17 | 8106 | 7290 | 6665 | 9420 | 12070 | 9214 | 301 | 5958 | 12135 | 89 | 7035 | 6525 | 3700 | 9073 | 4386 | 6875 | 6080 | 8718 | 5620 | 9097 | 7739 | 4014 | 8828 | 7803 | 20 | 953 | 0 | 22.02
22.11.21 11:33:31 | 100.17 | 8103 | 7281 | 6660 | 9415 | 12059 | 9219 | 307 | 5966 | 12157 | 83 | 7024 | 6514 | 3714 | 9070 | 4394 | 6862 | 6094 | 8732 | 5609 | 9098 | 7708 | 4023 | 8840 | 7798 | 20 | 953 | 0 | 22.04
22.11.21 11:35:31 | 102.17 | 8094 | 7267 | 6642 | 9422 | 12064 | 9219 | 297 | 5966 | 12152 | 87 | 7040 | 6518 | 3723 | 9054 | 4410 | 6881 | 6097 | 8715 | 5604 | 9086 | 7751 | 4026 | 8871 | 7824 | 20 | 953 | 0 | 22.02
22.11.21 11:37:32 | 104.18 | 8103 | 7279 | 6640 | 9435 | 12061 | 9208 | 302 | 5980 | 12138 | 90 | 7026 | 6521 | 3717 | 9048 | 4393 | 6869 | 6097 | 8721 | 5600 | 9098 | 7756 | 4015 | 8874 | 7813 | 20 | 953 | 0 | 22.02
22.11.21 11:39:32 | 106.18 | 8100 | 7276 | 6653 | 9420 | 12096 | 9231 | 300 | 5965 | 12143 | 83 | 7040 | 6520 | 3706 | 9070 | 4407 | 6880 | 6091 | 8738 | 5600 | 9098 | 7750 | 4017 | 8869 | 7815 | 20 | 953 | 0 | 22.02
22.11.21 11:41:32 | 108.18 | 8106 | 7279 | 6640 | 9423 | 12056 | 9208 | 313 | 5980 | 12101 | 90 | 7037 | 6523 | 3731 | 9062 | 4410 | 6869 | 6080 | 8712 | 5589 | 9060 | 7745 | 4006 | 8843 | 7799 | 20 | 953 | 0 | 21.99
22.11.21 11:43:32 | 110.18 | 8103 | 7296 | 6649 | 9423 | 12104 | 9225 | 310 | 5969 | 12140 | 84 | 7351 | 6511 | 3725 | 9056 | 4413 | 6879 | 6091 | 8732 | 5615 | 9123 | 7759 | 4029 | 8851 | 7797 | 20 | 953 | 0 | 22
22.11.21 11:45:32 | 112.18 | 8117 | 7279 | 6662 | 9417 | 12101 | 9216 | 301 | 5965 | 12106 | 90 | 7025 | 6518 | 3723 | 9051 | 4397 | 6871 | 6100 | 8729 | 5606 | 9100 | 7765 | 4003 | 8843 | 7780 | 20 | 953 | 0 | 21.99
22.11.21 11:47:32 | 114.18 | 8109 | 7267 | 6652 | 9427 | 12059 | 9228 | 291 | 5951 | 12138 | 92 | 7043 | 6508 | 3728 | 9065 | 4394 | 6882 | 6094 | 8724 | 5603 | 9089 | 7728 | 4009 | 8845 | 7798 | 20 | 953 | 0 | 21.99
22.11.21 11:49:32 | 116.18 | 8109 | 7290 | 6652 | 9429 | 12070 | 9219 | 296 | 5965 | 12135 | 90 | 7051 | 6534 | 3728 | 9059 | 4400 | 6891 | 6103 | 8724 | 5612 | 9092 | 7733 | 3997 | 8846 | 7787 | 20 | 953 | 0 | 21.99
22.11.21 11:51:32 | 118.18 | 8103 | 7276 | 6650 | 9432 | 12121 | 9208 | 306 | 5956 | 12157 | 90 | 7026 | 6561 | 3742 | 9031 | 4406 | 6872 | 6097 | 8710 | 5603 | 9060 | 7762 | 4012 | 8834 | 7804 | 20 | 953 | 0 | 21.98
22.11.21 11:53:32 | 120.18 | 8120 | 7276 | 6642 | 9412 | 12112 | 9216 | 307 | 5972 | 12126 | 93 | 7037 | 6523 | 3720 | 9059 | 4390 | 6885 | 6083 | 8729 | 5604 | 9104 | 7742 | 4014 | 8866 | 7806 | 20 | 953 | 0 | 21.99
22.11.21 11:55:33 | 122.2 | 8117 | 7296 | 6666 | 9441 | 12127 | 9194 | 299 | 5972 | 12129 | 86 | 7023 | 6513 | 3737 | 9065 | 4404 | 6675 | 6083 | 8735 | 5603 | 9077 | 7734 | 4000 | 8849 | 7802 | 20 | 953 | 0 | 21.98
22.11.21 11:57:33 | 124.2 | 8109 | 7301 | 6651 | 9438 | 12115 | 9211 | 295 | 5976 | 12138 | 81 | 7038 | 6521 | 3740 | 9068 | 4411 | 6878 | 6103 | 8724 | 5603 | 9095 | 7736 | 4014 | 8848 | 7801 | 20 | 953 | 0 | 21.97
22.11.21 11:59:33 | 126.2 | 8117 | 7284 | 6663 | 9425 | 12124 | 9214 | 303 | 5967 | 12106 | 98 | 7054 | 6529 | 3745 | 9079 | 4400 | 6896 | 6097 | 8735 | 5612 | 9104 | 7731 | 4006 | 8855 | 7795 | 20 | 953 | 0 | 21.97
22.11.21 12:01:33 | 128.2 | 8120 | 7304 | 6659 | 9435 | 12118 | 9222 | 297 | 5970 | 12135 | 83 | 7366 | 6539 | 3720 | 9076 | 4405 | 6701 | 6091 | 8744 | 5609 | 9101 | 7742 | 4012 | 8857 | 7825 | 20 | 953 | 0 | 21.98
22.11.21 12:03:33 | 130.2 | 8117 | 7284 | 6648 | 9427 | 12121 | 9219 | 300 | 5955 | 12155 | 83 | 7038 | 6535 | 3754 | 9062 | 4417 | 6895 | 6088 | 8732 | 5621 | 9097 | 7742 | 4026 | 8854 | 7810 | 20 | 953 | 0 | 21.95
22.11.21 12:05:33 | 132.2 | 8123 | 7301 | 6674 | 9438 | 12113 | 9233 | 301 | 5981 | 12135 | 81 | 7040 | 6533 | 3737 | 9419 | 4414 | 6737 | 6111 | 8752 | 5620 | 9101 | 7748 | 4017 | 8856 | 7792 | 20 | 953 | 0 | 21.97
22.11.21 12:07:33 | 134.2 | 8120 | 7287 | 6659 | 9435 | 12110 | 9219 | 307 | 5987 | 12140 | 86 | 7033 | 6540 | 3740 | 9065 | 4411 | 6899 | 6103 | 8746 | 5615 | 9112 | 7742 | 4017 | 8860 | 7813 | 20 | 953 | 0 | 21.95
22.11.21 12:09:33 | 136.2 | 8120 | 7301 | 6654 | 9409 | 12107 | 9211 | 300 | 5983 | 12149 | 89 | 7049 | 6536 | 3762 | 9071 | 4411 | 6683 | 6091 | 8758 | 5609 | 9083 | 7734 | 4012 | 8855 | 7805 | 20 | 953 | 0 | 21.95
22.11.21 12:11:34 | 138.22 | 8120 | 7290 | 6671 | 9433 | 12093 | 9231 | 292 | 5969 | 12157 | 84 | 7046 | 6512 | 3754 | 9062 | 4397 | 6882 | 6086 | 8738 | 5604 | 9104 | 7750 | 4012 | 8889 | 7820 | 20 | 953 | 0 | 21.95
22.11.21 12:13:34 | 140.22 | 8126 | 7327 | 6662 | 9443 | 12112 | 9228 | 299 | 5975 | 12143 | 94 | 7041 | 6544 | 3737 | 9082 | 4397 | 6686 | 6097 | 8746 | 5601 | 9083 | 7734 | 4000 | 8875 | 7816 | 20 | 953 | 0 | 21.95
22.11.21 12:15:34 | 142.22 | 8140 | 7290 | 6663 | 9430 | 12110 | 9239 | 301 | 5983 | 12132 | 92 | 7044 | 6532 | 3748 | 9071 | 4408 | 6900 | 6103 | 8749 | 5604 | 9086 | 7756 | 4017 | 8877 | 7807 | 20 | 953 | 0 | 21.95