## Sheet2
Measurement Name : | Block2_Day14_plate1 |  | Generated On : | 22/11/2021, 12:17:35 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0009000973 MUX channel : ON - 01 PARAMETERS Sig LED current : 045 Ref LED current : 045 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 22/11/2021, 09:53:21 | [5 empty] | Batch No.: | PSt5-2004-01
End Date/Time: | 22/11/2021, 12:16:07 | [5 empty] | O2_cal0 [°] | 54.4
User Comment : | 100% Scenedesmus; Vial in C2 was moved to A4 at 12 min. |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 46.95
SDR Serial No. : | S-973 | [5 empty] | O2_T0 [°C] | 23.1
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 23.1
|  |  | Raw Value : | Phase |  |  | O2_patm [mbar] | 953
[7 empty] | O2_2nd [% a.s.] | 100
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 | Tm [°C] | p [mbar] | Salinity [g/1000g] | T_internal [°C] | Error
22.11.21 09:53:23 | 0.03 | 45.91 | 45.54 | 45.64 | 45.85 | 46.09 | 45.62 | 40.38 | 45.91 | 45.89 | 31.7 | 45.88 | 45.9 | 28.11 | 46.14 | 45.84 | 45.87 | 46.05 | 45.84 | 45.42 | 46.01 | 46.02 | 45.63 | 45.98 | 46.26 | 20 | 953 | 0 | 22.42
22.11.21 09:55:23 | 2.03 | 45.93 | 45.59 | 45.68 | 45.83 | 46.14 | 45.58 | 40.46 | 45.96 | 45.9 | 29.66 | 45.88 | 45.97 | 28.1 | 46.15 | 45.98 | 45.76 | 45.97 | 45.83 | 45.41 | 46 | 46.02 | 45.58 | 46.01 | 46.25 | 20 | 953 | 0 | 22.43
22.11.21 09:57:23 | 4.03 | 45.95 | 45.56 | 45.68 | 45.85 | 46.06 | 45.66 | 40.22 | 45.97 | 45.93 | 25.38 | 45.87 | 46 | 18.44 | 46.11 | 45.9 | 45.72 | 46.02 | 45.83 | 45.4 | 45.99 | 45.97 | 45.58 | 46.04 | 46.2 | 20 | 953 | 0 | 22.43
22.11.21 09:59:24 | 6.05 | 45.9 | 45.67 | 45.68 | 45.92 | 46.14 | 45.67 | 33.54 | 46.03 | 45.91 | 24.05 | 45.65 | 46.03 | 22.99 | 45.99 | 45.99 | 45.76 | 45.69 | 45.91 | 45.4 | 46.03 | 45.95 | 45.78 | 46.08 | 46.18 | 20 | 953 | 0 | 22.43
22.11.21 10:01:24 | 8.05 | 45.91 | 45.83 | 45.43 | 45.54 | 46.11 | 45.46 | 34.62 | 45.88 | 45.95 | 27.19 | 45.92 | 46.02 | 15.67 | 46.01 | 45.82 | 45.76 | 45.73 | 45.94 | 45.45 | 46 | 46.02 | 45.78 | 46.07 | 46.25 | 20 | 953 | 0 | 22.43
22.11.21 10:03:28 | 10.12 | 45.99 | 45.7 | 45.14 | 45.74 | 46.12 | 45.84 | 31 | 46.08 | 45.92 | 27.14 | 46.07 | 46.01 | 26.13 | 45.98 | 45.84 | 45.77 | 45.59 | 45.97 | 45.43 | 46.02 | 45.92 | 45.75 | 46.1 | 46.25 | 20 | 953 | 0 | 22.43
22.11.21 10:05:28 | 12.12 | 46.03 | 45.71 | 45.52 | 45.87 | 46.1 | 45.76 | 12.68 | 45.82 | 45.97 | 25 | 45.92 | 45.93 | 45.65 | 46.04 | 45.83 | 45.82 | 45.98 | 45.94 | 45.36 | 46.02 | 45.98 | 45.78 | 46.05 | 46.19 | 20 | 953 | 0 | 22.45
22.11.21 10:07:28 | 14.12 | 45.99 | 45.67 | 45.51 | 45.82 | 46.09 | 45.68 | 15.39 | 45.94 | 46 | 25 | 45.93 | 46.04 | 45.75 | 46.01 | 45.86 | 45.86 | 46.07 | 46.02 | 45.44 | 46 | 45.98 | 45.83 | 46.11 | 46.22 | 20 | 953 | 0 | 22.43
22.11.21 10:09:28 | 16.12 | 45.97 | 45.65 | 45.51 | 45.93 | 46.1 | 45.71 | 15.16 | 45.85 | 45.98 | 21.26 | 45.96 | 45.95 | 45.66 | 46.05 | 45.79 | 45.77 | 46.04 | 45.97 | 45.41 | 46.05 | 46 | 45.75 | 46.08 | 46.3 | 20 | 953 | 0 | 22.43
22.11.21 10:11:28 | 18.12 | 46 | 45.67 | 45.46 | 45.88 | 46.09 | 45.77 | 12.19 | 45.97 | 45.99 | 25 | 45.91 | 46.04 | 45.66 | 46.07 | 45.89 | 45.87 | 46.12 | 45.99 | 45.48 | 46.03 | 45.98 | 45.87 | 46.1 | 46.22 | 20 | 953 | 0 | 22.41
22.11.21 10:13:28 | 20.12 | 46.01 | 45.67 | 45.56 | 45.93 | 46.12 | 45.78 | 12.69 | 45.91 | 45.96 | 24.36 | 45.89 | 45.96 | 45.66 | 46.12 | 45.84 | 45.89 | 46.1 | 46 | 45.35 | 46.04 | 46 | 45.75 | 46.09 | 46.21 | 20 | 953 | 0 | 22.41
22.11.21 10:15:28 | 22.12 | 46.03 | 45.6 | 45.54 | 45.95 | 46.16 | 45.73 | 13.17 | 45.93 | 46 | 24.36 | 45.88 | 45.96 | 45.56 | 46.08 | 45.85 | 45.87 | 45.93 | 45.96 | 45.48 | 45.99 | 46.02 | 45.78 | 46.12 | 46.27 | 20 | 953 | 0 | 22.38
22.11.21 10:17:28 | 24.12 | 46.02 | 45.63 | 45.5 | 45.91 | 46.09 | 45.77 | 13.66 | 45.96 | 46.01 | 24.72 | 45.91 | 46.03 | 45.66 | 46.05 | 45.8 | 45.88 | 45.99 | 46.05 | 45.48 | 46.03 | 46 | 45.87 | 46.14 | 46.21 | 20 | 953 | 0 | 22.38
22.11.21 10:19:28 | 26.12 | 46.06 | 45.7 | 45.52 | 45.85 | 46.17 | 45.77 | 12.44 | 45.98 | 46.02 | 25.61 | 45.93 | 46.06 | 45.57 | 46.1 | 45.81 | 45.89 | 46.02 | 46.04 | 45.51 | 46.05 | 46.04 | 45.87 | 46.16 | 46.15 | 20 | 953 | 0 | 22.36
22.11.21 10:21:28 | 28.12 | 46.04 | 45.72 | 45.66 | 45.93 | 46.12 | 45.81 | 14.15 | 45.97 | 46.04 | 27.74 | 45.98 | 46 | 45.54 | 46.15 | 45.79 | 45.9 | 45.97 | 46.05 | 45.44 | 46.12 | 46.03 | 45.84 | 46.14 | 46.23 | 20 | 953 | 0 | 22.36
22.11.21 10:23:28 | 30.12 | 46.04 | 45.7 | 45.48 | 45.93 | 46.15 | 45.77 | 11.99 | 46.02 | 46.05 | 30.22 | 46.03 | 46.02 | 45.57 | 46.16 | 45.89 | 45.87 | 46.12 | 46.06 | 45.52 | 46.04 | 46.02 | 45.79 | 46.16 | 46.22 | 20 | 953 | 0 | 22.34
22.11.21 10:25:29 | 32.13 | 46.07 | 45.6 | 45.53 | 45.92 | 46.14 | 45.79 | 12.69 | 45.92 | 46.07 | 24.72 | 45.95 | 46.08 | 45.7 | 46.1 | 45.77 | 45.96 | 45.99 | 46.06 | 45.48 | 46 | 46.12 | 45.79 | 46.17 | 46.2 | 20 | 953 | 0 | 22.31
22.11.21 10:27:29 | 34.13 | 46.08 | 45.72 | 45.51 | 45.95 | 46.18 | 45.81 | 13.42 | 45.95 | 46.02 | 27.73 | 46.02 | 46.09 | 45.53 | 46.14 | 45.85 | 45.92 | 46.13 | 46.14 | 45.47 | 46.11 | 46.12 | 45.75 | 46.17 | 46.21 | 20 | 953 | 0 | 22.29
22.11.21 10:29:29 | 36.13 | 46.07 | 45.78 | 45.52 | 45.92 | 46.17 | 45.78 | 12.68 | 46.04 | 46.04 | 22.96 | 46 | 46.01 | 45.7 | 46.14 | 45.87 | 45.95 | 46.09 | 46.08 | 45.5 | 46.14 | 46.06 | 46.03 | 46.2 | 46.24 | 20 | 953 | 0 | 22.29
22.11.21 10:31:29 | 38.13 | 46.07 | 45.72 | 45.54 | 45.98 | 46.17 | 45.84 | 12.69 | 46.04 | 46.01 | 30.74 | 46.05 | 46.07 | 45.48 | 46.18 | 45.86 | 45.97 | 46.07 | 46.14 | 45.52 | 46.16 | 46.04 | 45.87 | 46.23 | 46.19 | 20 | 953 | 0 | 22.27
22.11.21 10:33:29 | 40.13 | 46.06 | 45.74 | 45.6 | 45.94 | 46.19 | 45.81 | 14.86 | 46.01 | 46.05 | 24 | 45.99 | 46.07 | 45.66 | 46.19 | 45.85 | 45.95 | 46.07 | 46.14 | 45.55 | 46.16 | 46.08 | 45.99 | 46.22 | 46.26 | 20 | 953 | 0 | 22.27
22.11.21 10:35:29 | 42.13 | 46.14 | 45.7 | 45.52 | 46 | 46.16 | 45.82 | 12.69 | 45.98 | 46.12 | 20.46 | 46.01 | 46.01 | 45.67 | 46.18 | 45.87 | 45.98 | 46.02 | 46.16 | 45.58 | 46.11 | 46.12 | 46.03 | 46.2 | 46.22 | 20 | 953 | 0 | 22.25
22.11.21 10:37:29 | 44.13 | 46.11 | 45.78 | 45.55 | 45.98 | 46.18 | 45.82 | 14.62 | 46.12 | 46.1 | 27.19 | 46.05 | 46.13 | 45.66 | 46.2 | 46.03 | 45.96 | 46.09 | 46.13 | 45.49 | 46.11 | 46.16 | 45.87 | 46.23 | 46.26 | 20 | 953 | 0 | 22.24
22.11.21 10:39:29 | 46.13 | 46.1 | 45.72 | 45.47 | 46.06 | 46.21 | 45.8 | 12.21 | 46.13 | 46.1 | 27.14 | 46.08 | 46.04 | 45.53 | 46.14 | 45.84 | 45.95 | 46.07 | 46.16 | 45.57 | 46.16 | 46.1 | 45.95 | 46.23 | 46.24 | 20 | 953 | 0 | 22.23
22.11.21 10:41:29 | 48.13 | 46.14 | 45.79 | 45.57 | 46.04 | 46.16 | 45.88 | 12.71 | 46.12 | 46.09 | 27.2 | 46.07 | 46.1 | 45.58 | 46.23 | 45.81 | 45.99 | 46.07 | 46.12 | 45.51 | 46.15 | 46.1 | 45.95 | 46.24 | 46.34 | 20 | 953 | 0 | 22.22
22.11.21 10:43:29 | 50.13 | 46.15 | 45.78 | 45.6 | 45.97 | 46.18 | 45.8 | 12.94 | 46.01 | 46.08 | 24.36 | 46.04 | 46.1 | 45.57 | 46.17 | 45.9 | 46.02 | 46.15 | 46.11 | 45.64 | 46.14 | 46.16 | 45.91 | 46.23 | 46.27 | 20 | 953 | 0 | 22.22
22.11.21 10:45:29 | 52.13 | 46.15 | 45.74 | 45.67 | 45.99 | 46.22 | 45.87 | 14.6 | 46.14 | 46.11 | 23.41 | 46.07 | 46.15 | 45.63 | 46.21 | 45.78 | 45.97 | 46.12 | 46.12 | 45.54 | 46.14 | 46.14 | 45.87 | 46.24 | 46.33 | 20 | 953 | 0 | 22.2
22.11.21 10:47:29 | 54.13 | 46.14 | 45.76 | 45.52 | 46 | 46.2 | 45.89 | 12.46 | 46 | 46.1 | 25.61 | 46.1 | 46.17 | 45.58 | 46.23 | 45.94 | 45.93 | 46.18 | 46.23 | 45.5 | 46.16 | 46.21 | 45.95 | 46.27 | 46.27 | 20 | 953 | 0 | 22.2
22.11.21 10:49:30 | 56.15 | 46.11 | 45.89 | 45.6 | 46.03 | 46.21 | 45.89 | 14.63 | 46.07 | 46.15 | 27.73 | 46.05 | 46.15 | 45.66 | 46.17 | 45.92 | 46 | 46.2 | 46.17 | 45.48 | 46.17 | 46.14 | 45.95 | 46.25 | 46.27 | 20 | 953 | 0 | 22.18
22.11.21 10:51:30 | 58.15 | 46.2 | 45.81 | 45.7 | 46 | 46.18 | 45.84 | 13.42 | 46.02 | 46.11 | 26.51 | 46.13 | 46.17 | 45.54 | 46.19 | 45.89 | 45.99 | 46.07 | 46.17 | 45.56 | 46.2 | 46.12 | 45.91 | 46.27 | 46.29 | 20 | 953 | 0 | 22.18
22.11.21 10:53:30 | 60.15 | 46.14 | 45.77 | 45.63 | 46.03 | 46.22 | 45.93 | 12.95 | 46.13 | 46.11 | 23.69 | 46.15 | 46.13 | 45.71 | 46.25 | 45.92 | 46.04 | 46.05 | 46.24 | 45.55 | 46.22 | 46.15 | 45.92 | 46.23 | 46.32 | 20 | 953 | 0 | 22.17
22.11.21 10:55:30 | 62.15 | 46.17 | 45.79 | 45.73 | 46.05 | 46.21 | 45.9 | 13.89 | 46.1 | 46.15 | 22.75 | 46.14 | 46.15 | 45.67 | 46.2 | 45.83 | 46 | 46.08 | 46.22 | 45.57 | 46.18 | 46.11 | 46 | 46.24 | 46.31 | 20 | 953 | 0 | 22.16
22.11.21 10:57:30 | 64.15 | 46.14 | 45.77 | 45.61 | 46.04 | 46.22 | 45.9 | 12.95 | 46.14 | 46.18 | 22.03 | 46.16 | 46.17 | 45.58 | 46.25 | 45.93 | 46.03 | 46.16 | 46.26 | 45.58 | 46.2 | 46.13 | 46 | 46.29 | 46.31 | 20 | 953 | 0 | 22.16
22.11.21 10:59:30 | 66.15 | 46.16 | 45.85 | 45.75 | 46.03 | 46.28 | 45.91 | 12.94 | 46.05 | 46.2 | 25.4 | 46.12 | 46.24 | 45.58 | 46.21 | 45.95 | 46.01 | 46.07 | 46.27 | 45.48 | 46.21 | 46.16 | 45.91 | 46.28 | 46.35 | 20 | 953 | 0 | 22.13
22.11.21 11:01:30 | 68.15 | 46.22 | 45.86 | 45.71 | 46.09 | 46.22 | 45.88 | 11.97 | 46.16 | 46.16 | 24.37 | 46.14 | 46.27 | 45.63 | 46.27 | 45.99 | 46.04 | 46.1 | 46.29 | 45.61 | 46.2 | 46.19 | 45.88 | 46.34 | 46.31 | 20 | 953 | 0 | 22.13
22.11.21 11:03:30 | 70.15 | 46.17 | 45.88 | 45.8 | 46.04 | 46.24 | 45.87 | 11.97 | 46.06 | 46.19 | 25.4 | 46.18 | 46.25 | 45.63 | 46.24 | 46.04 | 46.06 | 46.11 | 46.26 | 45.57 | 46.2 | 46.19 | 45.92 | 46.33 | 46.4 | 20 | 953 | 0 | 22.13
22.11.21 11:05:30 | 72.15 | 46.18 | 45.81 | 45.71 | 46.04 | 46.25 | 45.89 | 12.69 | 46.12 | 46.19 | 23.41 | 46.1 | 46.22 | 45.49 | 46.21 | 45.96 | 45.97 | 46.12 | 46.27 | 45.53 | 46.25 | 46.18 | 45.95 | 46.31 | 46.34 | 20 | 953 | 0 | 22.11
22.11.21 11:07:30 | 74.15 | 46.21 | 45.84 | 45.69 | 46.09 | 46.22 | 45.94 | 12.47 | 46.1 | 46.2 | 20.47 | 46.16 | 46.23 | 45.72 | 46.24 | 46.01 | 46.02 | 46.24 | 46.26 | 45.61 | 46.23 | 46.21 | 46.04 | 46.29 | 46.36 | 20 | 953 | 0 | 22.11
22.11.21 11:09:30 | 76.15 | 46.18 | 45.85 | 45.76 | 46.06 | 46.24 | 45.91 | 13.67 | 46.09 | 46.16 | 30.22 | 46.16 | 46.22 | 45.75 | 46.26 | 46 | 46.05 | 46.2 | 46.34 | 45.6 | 46.18 | 46.19 | 46.03 | 46.32 | 46.42 | 20 | 953 | 0 | 22.11
22.11.21 11:11:30 | 78.15 | 46.12 | 45.88 | 45.7 | 46.06 | 46.25 | 45.9 | 13.43 | 46.18 | 46.19 | 24.72 | 46.17 | 46.17 | 45.58 | 46.27 | 46.01 | 46.03 | 46.13 | 46.23 | 45.62 | 46.23 | 46.23 | 45.95 | 46.37 | 46.39 | 20 | 953 | 0 | 22.09
22.11.21 11:13:31 | 80.17 | 46.22 | 45.79 | 45.75 | 46.07 | 46.24 | 45.93 | 11.97 | 46.12 | 46.17 | 25.13 | 46.17 | 46.16 | 45.54 | 46.23 | 45.97 | 46.15 | 46.16 | 46.31 | 45.64 | 46.26 | 46.21 | 46 | 46.35 | 46.34 | 20 | 953 | 0 | 22.09
22.11.21 11:15:31 | 82.17 | 46.17 | 45.84 | 45.73 | 46.13 | 46.31 | 45.9 | 11.97 | 46.15 | 46.19 | 28.73 | 46.21 | 46.33 | 45.59 | 46.32 | 45.85 | 46.12 | 46.1 | 46.29 | 45.55 | 46.25 | 46.19 | 46 | 46.35 | 46.41 | 20 | 953 | 0 | 22.08
22.11.21 11:17:31 | 84.17 | 46.19 | 45.88 | 45.67 | 46.08 | 46.26 | 45.97 | 11.99 | 46.07 | 46.22 | 21.27 | 46.18 | 46.23 | 45.5 | 46.25 | 45.93 | 46.11 | 46.18 | 46.37 | 45.52 | 46.25 | 46.22 | 46 | 46.29 | 46.4 | 20 | 953 | 0 | 22.09
22.11.21 11:19:31 | 86.17 | 46.2 | 45.88 | 45.73 | 46.12 | 46.28 | 45.91 | 13.91 | 46.19 | 46.17 | 31.24 | 46.18 | 46.24 | 45.54 | 46.32 | 45.95 | 46.06 | 46.12 | 46.29 | 45.56 | 46.29 | 46.15 | 46.07 | 46.33 | 46.43 | 20 | 953 | 0 | 22.08
22.11.21 11:21:31 | 88.17 | 46.25 | 45.96 | 45.72 | 46.07 | 46.25 | 45.98 | 12.47 | 46.12 | 46.24 | 30.23 | 46.23 | 46.29 | 45.51 | 46.33 | 46 | 46.03 | 46.22 | 46.36 | 45.67 | 46.24 | 46.24 | 46.09 | 46.35 | 46.39 | 20 | 953 | 0 | 22.06
22.11.21 11:23:31 | 90.17 | 46.22 | 45.88 | 45.7 | 46.14 | 46.23 | 45.97 | 12.69 | 46.12 | 46.23 | 28.35 | 46.13 | 46.23 | 45.58 | 46.3 | 46.04 | 46.02 | 46.13 | 46.31 | 45.57 | 46.25 | 46.19 | 46.12 | 46.35 | 46.43 | 20 | 953 | 0 | 22.04
22.11.21 11:25:31 | 92.17 | 46.25 | 45.88 | 45.64 | 46.07 | 46.29 | 45.95 | 14.38 | 46.15 | 46.23 | 22.98 | 46.2 | 46.32 | 45.59 | 46.27 | 46.05 | 46.21 | 46.1 | 46.33 | 45.63 | 46.26 | 46.11 | 46.04 | 46.36 | 46.38 | 20 | 953 | 0 | 22.04
22.11.21 11:27:31 | 94.17 | 46.21 | 45.84 | 45.66 | 46.04 | 46.29 | 45.96 | 13.43 | 46.11 | 46.22 | 24.73 | 46.22 | 46.28 | 45.46 | 46.24 | 45.95 | 46.09 | 46.21 | 46.35 | 45.69 | 46.29 | 46.18 | 45.88 | 46.37 | 46.44 | 20 | 953 | 0 | 22.04
22.11.21 11:29:31 | 96.17 | 46.22 | 45.88 | 45.77 | 46.06 | 46.27 | 45.94 | 13.19 | 46.2 | 46.23 | 24.72 | 46.18 | 46.25 | 45.5 | 46.3 | 46.11 | 46.09 | 46.16 | 46.29 | 45.63 | 46.29 | 46.15 | 46 | 46.31 | 46.46 | 20 | 953 | 0 | 22.04
22.11.21 11:31:31 | 98.17 | 46.25 | 45.89 | 45.72 | 46.09 | 46.26 | 45.99 | 11.75 | 46.24 | 46.21 | 27.74 | 46.26 | 46.18 | 45.63 | 46.27 | 46.15 | 46.07 | 46.14 | 46.33 | 45.67 | 46.27 | 46.22 | 45.96 | 46.4 | 46.38 | 20 | 953 | 0 | 22.02
22.11.21 11:33:31 | 100.17 | 46.2 | 45.88 | 45.77 | 46.11 | 46.23 | 45.94 | 12.95 | 46.19 | 46.24 | 28.35 | 46.25 | 46.18 | 45.58 | 46.25 | 46.02 | 46.13 | 46.16 | 46.4 | 45.68 | 46.32 | 46.22 | 46.04 | 46.39 | 46.42 | 20 | 953 | 0 | 22.04
22.11.21 11:35:31 | 102.17 | 46.25 | 45.88 | 45.74 | 46.04 | 46.27 | 45.94 | 11.97 | 46.2 | 46.25 | 21.27 | 46.21 | 46.28 | 45.55 | 46.33 | 45.97 | 46.08 | 46.08 | 46.31 | 45.71 | 46.29 | 46.24 | 46.08 | 46.39 | 46.45 | 20 | 953 | 0 | 22.02
22.11.21 11:37:32 | 104.18 | 46.24 | 45.88 | 45.76 | 46.12 | 46.25 | 46 | 13.66 | 46.2 | 46.2 | 26.03 | 46.22 | 46.27 | 45.49 | 46.28 | 45.98 | 46.04 | 46.07 | 46.38 | 45.65 | 46.29 | 46.23 | 46.19 | 46.4 | 46.45 | 20 | 953 | 0 | 22.02
22.11.21 11:39:32 | 106.18 | 46.27 | 45.95 | 45.68 | 46.11 | 46.32 | 46.01 | 12.23 | 46.12 | 46.26 | 28.36 | 46.19 | 46.26 | 45.63 | 46.29 | 45.97 | 46.16 | 46.13 | 46.39 | 45.66 | 46.34 | 46.13 | 46.16 | 46.43 | 46.39 | 20 | 953 | 0 | 22.02
22.11.21 11:41:32 | 108.18 | 46.25 | 45.89 | 45.75 | 46.1 | 46.27 | 45.98 | 12.27 | 46.16 | 46.27 | 18 | 46.2 | 46.26 | 45.47 | 46.33 | 45.97 | 46.2 | 46.14 | 46.39 | 45.7 | 46.3 | 46.2 | 45.97 | 46.42 | 46.47 | 20 | 953 | 0 | 21.99
22.11.21 11:43:32 | 110.18 | 46.26 | 45.83 | 45.78 | 46.08 | 46.28 | 45.97 | 13.18 | 46.21 | 46.25 | 26.52 | 46.22 | 46.21 | 45.58 | 46.3 | 45.99 | 46.13 | 46.07 | 46.36 | 45.76 | 46.26 | 46.19 | 46.03 | 46.4 | 46.36 | 20 | 953 | 0 | 22
22.11.21 11:45:32 | 112.18 | 46.27 | 45.91 | 45.72 | 46.09 | 46.26 | 46.03 | 12.95 | 46.14 | 46.26 | 26.04 | 46.18 | 46.26 | 45.37 | 46.34 | 46.1 | 46.12 | 46.08 | 46.39 | 45.63 | 46.26 | 46.23 | 46.04 | 46.43 | 46.34 | 20 | 953 | 0 | 21.99
22.11.21 11:47:32 | 114.18 | 46.25 | 45.95 | 45.78 | 46.14 | 46.33 | 45.97 | 14.44 | 46.19 | 46.25 | 22.75 | 46.21 | 46.22 | 45.59 | 46.38 | 46.03 | 46.13 | 46.16 | 46.37 | 45.63 | 46.29 | 46.24 | 46.04 | 46.35 | 46.43 | 20 | 953 | 0 | 21.99
22.11.21 11:49:32 | 116.18 | 46.25 | 45.88 | 45.8 | 46.14 | 46.32 | 45.97 | 14.9 | 46.17 | 46.27 | 26.04 | 46.18 | 46.24 | 45.55 | 46.33 | 46.06 | 46.15 | 46.19 | 46.39 | 45.68 | 46.32 | 46.2 | 45.96 | 46.41 | 46.44 | 20 | 953 | 0 | 21.99
22.11.21 11:51:32 | 118.18 | 46.27 | 45.91 | 45.66 | 46.14 | 46.26 | 46.05 | 13.43 | 46.1 | 46.3 | 31.71 | 46.2 | 46.31 | 45.51 | 46.33 | 46.08 | 46.05 | 46.13 | 46.39 | 45.69 | 46.26 | 46.23 | 45.92 | 46.38 | 46.42 | 20 | 953 | 0 | 21.98
22.11.21 11:53:32 | 120.18 | 46.26 | 45.9 | 45.74 | 46.09 | 46.26 | 46.06 | 14.13 | 46.24 | 46.24 | 26.64 | 46.16 | 46.22 | 45.54 | 46.36 | 45.95 | 46.15 | 46.18 | 46.42 | 45.71 | 46.35 | 46.19 | 46.08 | 46.42 | 46.37 | 20 | 953 | 0 | 21.99
22.11.21 11:55:33 | 122.2 | 46.31 | 45.91 | 45.77 | 46.16 | 46.26 | 46.03 | 12.71 | 46.24 | 46.33 | 22.98 | 46.2 | 46.36 | 45.55 | 46.33 | 45.94 | 46.2 | 46.11 | 46.35 | 45.66 | 46.27 | 46.24 | 46.04 | 46.46 | 46.47 | 20 | 953 | 0 | 21.98
22.11.21 11:57:33 | 124.2 | 46.27 | 45.91 | 45.76 | 46.13 | 46.25 | 46.01 | 14.17 | 46.29 | 46.31 | 25.85 | 46.28 | 46.28 | 45.5 | 46.36 | 46 | 46.23 | 46.19 | 46.37 | 45.69 | 46.32 | 46.18 | 46.08 | 46.41 | 46.4 | 20 | 953 | 0 | 21.97
22.11.21 11:59:33 | 126.2 | 46.27 | 45.95 | 45.77 | 46.07 | 46.27 | 46.05 | 11.27 | 46.25 | 46.3 | 27.74 | 46.17 | 46.3 | 45.42 | 46.32 | 46.06 | 46.12 | 46.16 | 46.39 | 45.74 | 46.33 | 46.28 | 46.16 | 46.46 | 46.39 | 20 | 953 | 0 | 21.97
22.11.21 12:01:33 | 128.2 | 46.3 | 45.95 | 45.7 | 46.13 | 46.24 | 46.02 | 13.19 | 46.27 | 46.28 | 28.35 | 46.23 | 46.33 | 45.45 | 46.34 | 46.04 | 46.21 | 46.24 | 46.44 | 45.71 | 46.33 | 46.21 | 46.04 | 46.41 | 46.48 | 20 | 953 | 0 | 21.98
22.11.21 12:03:33 | 130.2 | 46.32 | 45.97 | 45.71 | 46.14 | 46.26 | 46.04 | 13.43 | 46.26 | 46.32 | 22.21 | 46.28 | 46.26 | 45.5 | 46.34 | 46.06 | 46.21 | 46.16 | 46.36 | 45.7 | 46.28 | 46.28 | 46.12 | 46.42 | 46.46 | 20 | 953 | 0 | 21.95
22.11.21 12:05:33 | 132.2 | 46.31 | 46.02 | 45.74 | 46.12 | 46.32 | 46.01 | 12.95 | 46.29 | 46.33 | 32.14 | 46.24 | 46.32 | 45.42 | 46.39 | 46.08 | 46.2 | 46.22 | 46.46 | 45.59 | 46.32 | 46.24 | 46.05 | 46.38 | 46.44 | 20 | 953 | 0 | 21.97
22.11.21 12:07:33 | 134.2 | 46.3 | 45.96 | 45.69 | 46.1 | 46.29 | 46.03 | 14.12 | 46.24 | 46.3 | 27.14 | 46.32 | 46.25 | 45.49 | 46.39 | 45.99 | 46.12 | 46.15 | 46.41 | 45.72 | 46.3 | 46.23 | 46.15 | 46.42 | 46.44 | 20 | 953 | 0 | 21.95
22.11.21 12:09:33 | 136.2 | 46.31 | 45.97 | 45.73 | 46.12 | 46.27 | 46.03 | 12.22 | 46.2 | 46.35 | 27.74 | 46.23 | 46.39 | 45.59 | 46.38 | 46.08 | 46.19 | 46.21 | 46.46 | 45.65 | 46.28 | 46.32 | 46.08 | 46.46 | 46.48 | 20 | 953 | 0 | 21.95
22.11.21 12:11:34 | 138.22 | 46.24 | 45.94 | 45.73 | 46.15 | 46.27 | 46 | 12.69 | 46.21 | 46.29 | 26.52 | 46.22 | 46.28 | 45.54 | 46.34 | 46.09 | 46.1 | 46.23 | 46.45 | 45.77 | 46.35 | 46.17 | 46.2 | 46.44 | 46.55 | 20 | 953 | 0 | 21.95
22.11.21 12:13:34 | 140.22 | 46.33 | 45.92 | 45.74 | 46.07 | 46.3 | 45.99 | 12.7 | 46.21 | 46.28 | 28.82 | 46.3 | 46.33 | 45.59 | 46.32 | 46.1 | 46.18 | 46.21 | 46.4 | 45.72 | 46.28 | 46.3 | 46.12 | 46.44 | 46.49 | 20 | 953 | 0 | 21.95
22.11.21 12:15:34 | 142.22 | 46.31 | 45.93 | 45.77 | 46.17 | 46.26 | 46.03 | 12.95 | 46.23 | 46.31 | 28.3 | 46.3 | 46.27 | 45.59 | 46.41 | 46.08 | 46.2 | 46.13 | 46.44 | 45.71 | 46.31 | 46.23 | 46.2 | 46.42 | 46.48 | 20 | 953 | 0 | 21.95